Smoke detection system
Shall be independant from printer.
Start the power by pushing the button.
If printer does not have on/off button
(e.g. if supplied with a power block),
a stop pushbutton can be useful.
9V
Smoke sensor
  DYP-ME0010-A
NC
NO
Test
Independant power shutdown
Stop
(option)
3D
Printer
AC
SSR
+ -
PS
9V
~ ~
Start
AC 110-230V
Fuse
Stop
(option)
Depending local regulation
two contacts in serie
may be considered equivalent to a
safety relay
PS
9V
Start
Relay
 9V
AC 110-230V
Fuse
Author : Pierre ROUZEAU .
Licence GFDL1.2 and CC BY-SA
Fuse
AC 110-230V
PS
9V
Start
Stop
(option)
Relay
 9V